## Slide 1: Intermediate Oscilloscope Use and Understanding
Feb-2022

## Slide 2: Agenda
1. Sampling/quantization
2. Basic and advanced triggering
3. Probing Technique
4. Bandwidth and Sample Rates

## Slide 3: Real world weirdness

## Slide 4: Sampling – Time and Amplitude Domain
Actual Input Signal
What the Scope
Captured
What the Scope
Captured

## Slide 5: Interpolation
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X
X

## Slide 6: Vertical Resolution – Typically 8 bits
2 bits/
4 Levels
4 bits/
16 Levels

## Slide 7: Vertical Scale Impact
8 levels, but missing part of waveform
3 effective levels
8 levels, perfect range

## Slide 8: Realistic Example w/o interpolation 8Gsps, 8bits

## Slide 9: Trigger then zoom vs zoom then trigger
8 bit (256 level) resolution range is reset each time we change vertical scale

## Slide 10: Triggering
Overview
Edge
  Rising
  Falling
Rearm/Hold-off
Single Shot
Other

## Slide 11: Rising Edge Trigger/Re-Arm System
Trigger
------------ Display ------------
Trigger
------------ Display ------------
----------------------- Re-arm Time ------------------------

## Slide 12: Trigger Setup

## Slide 13: Edge Rising/Falling/Both

## Slide 14: Hold Off
Ghost
5µs
T
T

## Slide 15: Triggering on Non-Repetitive Signals
Trigger
------------ Display ------------
Trigger
------------ Display ------------
------------------------- Re-arm Time ---------------------------

## Slide 16: “Single/One-Shot” is your friend

## Slide 17: Trigger AC/DC/Bandwidth
TL;DR
Use DC coupling – 99% of the time it’s fine
If it doesn’t trigger, try AC, LFC (low freq cutoff), HFC (high freq cutoff)
AC was more useful in older scopes due to architecture differences
This could be a good use of AC triggering:
Want to watch DC on signal but trigger the whole time

## Slide 18: Probing Technique
Overview
Edge
  Rising
  Falling
Rearm/Hold-off
Single Shot
Other

## Slide 19: 30MHz Signal Probing

## Slide 20: 1MHz Signal Probing

## Slide 21: 1MHz vs 30MHz Comparison Rising edge error worse at 1MHz!
30MHz
1MHz

## Slide 22: Probing Techniques

## Slide 23: Stack Exchange Question
Is the overshoot real?

## Slide 24: 1x vs 10x vs 50Ω Probes
TL;DR
Use 10x probe
If measuring very low-voltage signals which are getting buried in noise – use 1x probe
If measuring something that expects a 50 Ω load – use 50Ω
  Function generator
  RF test equipment
  RF amplifiers
  Not all scopes have a 50Ω option
If measuring very low-voltage signals which are getting buried in noise – use 1x probe
10x probe setting typically has much better bandwidth

## Slide 25: 1x vs 10x Probe Bandwidth
60MHz
10MHz

## Slide 26: Scope Bandwidth
IEEE 1057: Scope bandwidth is where a sine wave is displayed 3dB below its actual amplitude value
  A 1V sine wave would display as 0.707V
This may not actually be true for a given scope
What’s enough bandwidth?
    Audio: 50kHz
    General purpose analog/digital – 1MHz-50MHz?
0dB
-3dB

## Slide 27: Sample Rate
Sample rate - # of samples per second
Often divided by number of active channels
What’s good enough?
  At least 4x the data rate of digital signals
  I2C: 1Msps
  1MHz SPI: 4Msps
  10MHz bus with clock: 9 x 40Msps = 360Msps