## Slide 1: Intro to Oscilloscopes
July 2023

## Slide 2: Play with these two knobs
Vertical Range
Horizontal Range

## Slide 3: What’s happening?

## Slide 4: Play with the position knobs
Vertical Position
Horizontal Position
Push knob in to “zero”

## Slide 5: “Triggering” is often the tricky part
Scope chooses
a portion of the waveform to display, based on your settings

## Slide 6: Adjust “Trigger Level”
-0.75V
0.0V
0.5V

## Slide 7: Must decide when to “trigger”
Each arrow is a valid trigger point!

## Slide 8: Adjust Trigger “Slope”
Rising Edge
Falling Edge

## Slide 9: Trigger Setup

## Slide 10: Typical adjustments to “see” a signal
Vertical Range/Position
Horizontal Range/Position
Trigger Level

## Slide 11: There’s no shame in mashing AUTO
AUTO
Can be hit or miss
Can also try calibration signal

## Slide 12: Multiple captures can be shown at one time
Scopes have persistence, where a trace remains on the screen for a period of time. Sometimes this causes multiple traces to be displayed simultaneously.
Display -> Persis. Time

## Slide 13: “Single Shot” capture can be handy

## Slide 14: 1x vs 10x Probe Setting
Use 10x unless the signal is buried in noise, then try 1x

## Slide 15: Scope setting for 1x vs 10x Probe

## Slide 16: Scope Ground = AC Ground (for plug-in scopes)
GND
GND
GND
GND
Careful where you attach the alligator clip

## Slide 17: Probe tip shroud
GND